{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["附件一 2026年度上半年电工电子类教学耗材需求明细表"],"read":"whole","date_system":"1900"}

{"sheet":"附件一 2026年度上半年电工电子类教学耗材需求明细表","index":0,"n_rows":94,"n_cols":8,"rows_kept":94,"merged":[[0,0,0,7]]}
["附件一　 先进制造学院       　2026上半年 电工电子类教学耗材需求明细表"]
["编号","货物名称","规格型号","单位","数量","单价（元）","小计（元）","备注"]
[1,"日光管支座","镇流支架 20w","条",25,null,null,"需到实验室现场更换或安装，并与实验室设备配套"]
[2,"日光管","20w","条",25,null,null,"需到实验室现场更换或安装，并与实验室设备配套"]
[3,"灯座","中兴86型       螺口","个",30,null,null,"需到实验室现场更换或安装，并与实验室设备配套"]
[4,"一位开关面板","中兴86型   一开双掷","个",60,null,null,"需到实验室现场更换或安装，并与实验室设备配套"]
[5,"插座","中兴86型        五孔","个",30,null,null,"需到实验室现场更换或安装，并与实验室设备配套"]
[6,"两位开关面板","中兴86型 ","个",30,null,null,"需到实验室现场更换或安装，并与实验室设备配"]
[7,"剪刀","高强度","支",3]
[8,"晶体三极管","9013.9015.8050.8550,5551,5401  原装进口","包",6,null,null,"各1包"]
[9,"基尔霍夫电流定律套件","电子制作散件、教学实验散件\n\n（包含  印制电路板及元器件）","套",2,null,null,"①须与教材配套，有提供图纸\n②印刷电路板材料为玻纤板、尺寸是10.3cm×7.8cm\n③包含电源线4条"]
[10,"集成插座","8.14.16.20脚","条",200,null,null,"各50"]
[11,"硬线","1平方 单股铜芯线   红色  100米","卷",10,null,null,"  "]
[12,"硬线","1平方 单股铜芯线   黑色  100米","卷",10]
[13,"硬线","1平方 单股铜芯线   黄色  100米","卷",10]
[14,"软线","0.5㎡ 多股软铜线  红色  100米","卷",25]
[15,"软线","0.5㎡ 多股软铜线  黑色  100米","卷",25]
[16,"软线","0.5㎡ 多股软铜线  蓝色  100米","卷",25]
[17,"调光灯实验套件\n\n","电子制作散件、教学实验散件\n\n（包含 万能电路板及元器件）","套",2,null,null,"须与教材配套，有提供图纸"]
[18,"转向灯实验套件","电子制作散件、教学实验散件\n\n（包含 万能电路板及元器件）","套",2,null,null,"须与教材配套，有提供图纸"]
[19,"水泥电阻5w","Ω,KΩ","只",200,null,null,"各100"]
[20,"信号线","进口低频、高频\n\n信号发生器信号线","条",20,null,null,"与实验室设备配套"]
[21,"示波器探头","Cs-4125A专用","条",8,null,null,"与实验室设备配套"]
[22,"低压电源电源线","原厂","对",10,null,null,"与实验室设备配套"]
[23,"电气绝缘胶布","阻燃   10米","粒",20]
[24,"鳄鱼夹","大号、护套、黑/红两色","个",20]
[25,"松香","小盒装","盒",2]
[26,"小平头保险管","1A,2A,3A","盒",9,null,null,"各3盒 \n\n"]
[27,"单片机实验套件（核心板）","电子制作成品套件\n能够完成单片机内部各种基础资源的实验，另外能够完成板载流水灯实验、按键识别实验、数码管实验，lora通信实验，RS485通信实验、24c02存储器芯片读取实验，ds1302实时实验等。能够完成外接温度传感器实验、温湿度传感器实验、LCD12864液晶实验，蓝牙实验、wifi实验，红外实验等。","套",280,null,null,"与教材配套，有提供图纸"]
[28,"单片机实验板连接线、、杜邦线",null,"套",280]
[29,"单片机外围套件","教学实验散件              ds18B20温度传感器、DHT11温湿度传感器、LCD1602模块、LCD12864模块(ST7290控制芯片)、2.4g蓝牙模块、wifi模块、红外模块等。","套",140,null,null,"须与教材配套，有提供图纸"]
[30,"螺丝批","合资 平头及十字头  6.5*150mm","套",10]
[31,"吸锡器","电吸锡器   长寿牌","支\n\n",3]
[32,"吸锡器","902手动","支\n\n",3]
[33,"表笔","指针 万用表专用","付 ",10]
[34,"表笔","数字 万用表专用","付 ",5]
[35,"U型双头插线","双头4厘    50cm  多种颜色","袋 ",2]
[36,"三插电源线  ","双头","条",20]
[37,"二插电源线 ","单头","条",50]
[38,"铜螺丝、铜螺母、铜介只","Ф4mm，长度20mm.30mm.40mm","套",50]
[39,"信号发生器配件","教学实验散件\n\n（包含  万能电路板及元器件）","套",3,null,null,"与实验室设备配套，有提供图纸"]
[40,"透明胶带","宽45㎜","粒\n\n",3]
[41,"焊锡丝","φ0.8mm  进口阿华(蓝标)\n\n1kg 粒装","粒",20]
[42,"USB线","公对公 1米","根",3]
[43,"USB转RS232  串口线","公对公 1.5米","根",3]
[44,"四位秒表套件","电子制作散件\n(能够完成四位秒点、 电源、 起振、 计散 、泽码实验内容)","套",3,null,null,"须与教材配套，有提供图纸"]
[45,"电池","9伏","粒",40]
[46,"电池","7号  1.5伏   铁壳","粒",40]
[47,"电池","1号  1.5伏   铁壳","粒",60]
[48,"变压器","3w   永星","个",10]
[49,"万能电路板","7cm*9cm     2.54mm","块",200,null,null,"绿板"]
[50,"万能电路板","9cm*15cm    2.54mm","块",50,null,null,"绿板"]
[51,"集成运放配件","电子制作散件\n\n（包含  万能电路板及元器件）","套",750,null,null,"须与教材配套，有提供图纸"]
[52,"保险管","R015   2A .3A  6A","粒\n\n",150]
[53,"电烙铁   ","广州长寿30w ","支",5]
[54,"剥线钳","ST1041","支",3]
[55,"单管放大电路套件","电子制作散件、教学实验散件\n\n（包含  印制电路板及元器件）","套",780,null,null,"① 须与教材配套，有提供图纸\n②,印刷电路板材料为玻纤板、尺寸是12cm×9cm\n③包含wH148电位器、MTs102钮子开关2粒、电源线等元器件"]
[56,"稳压电源实验套件","电子制作散件、教学实验散件\n\n（包含  印制电路板及元器件）","套",550,null,null,"① 须与教材配套，有提供图纸\n②,印刷电路板材料为玻纤板、尺寸是12cm×9cm\n③包含电源线2条"]
[57,"内六角",null,"支",20]
[58,"大胶枪",null,"支",1]
[59,"小胶枪",null,"支",1]
[60,"大胶条",null,"根",20]
[61,"小胶条",null,"根",20]
[62,"五位电排",null,"条",3]
[63,"扎带",null,"包",2]
[64,"清洗剂","万能润滑防锈剂 ","瓶",1]
[65,"标签纸",null,"袋",2]
[66,"摇表线",null,"付",30]
[67,"热缩管","φ1，φ2，φ3，φ4","米",20,null,null,"各5米"]
[68," 鸡毛禅子","毯子","支",10]
[69,"抺布","30*70","条",4]
[70,"集成芯片","直插 进口正厂 74LS00，74LS02，74LS04，74LS08，74LS10，74LS20，74LS74，74LS86，74LS112，74LS138，74LS151，74LS161，  74LS系列，74HC系列，","条",24,null,null,"各2条"]
[71,"数电芯片塑料盒",null,"个",20]
[72,"六管调幅收音机套件","分离型","套",120,null,null,"须与教材配套，有提供图纸"]
[73,"收音机配套元件器","陶瓷电容、可变双联、输出变压器、中周变压器、震荡线圈           合共8粒","套",20,null,null,"\n须与教材配套，有提供图纸\n"]
[74,"无线门铃实验套件","电子制作散件、教学实验散件（包含  印制电路板及元器件","套",2,null,null,"须与教材配套，有提供图纸"]
[75,"电工工具","G-566  (20样工具)","套",4]
[76,"螺丝螺母",null,"斤",2]
[77,"抢答器电路套件","电子制作散件、教学实验散件\n\n（包含  万能电路板及元器件）","套",2,null,null,"须与教材配套，有提供图纸"]
[78,"多路控制电路套件","教学实验散件\n\n（包含  万能电路板及元器件）","套",2,null,null,"须与教材配套，有提供图纸"]
[79,"短接双头线","双头焊锡","斤",2]
[80,"电源配件(音响)","教学实验散件\n\n（包含  印制电路板及元器件）","套",220,null,null,"须与教材配套，有提供图纸"]
[81,"推动级配件(音响)","电子制作散件、教学实验散件\n\n（包含  印制电路板及元器件）","套",220,null,null,"须与教材配套，有提供图纸"]
[82,"音调配件","教学实验散件\n\n（包含  印制电路板及元器件）","套",220,null,null,"须与教材配套，有提供图纸"]
[83,"连接插线(音响)","每套4条","套",220,null,null,"须与教材配套，有提供图纸"]
[84,"电容包","包含瓷介，涤纶，CBB,电解电容\n合共15粒","套",100,null,null,"包装成100个独立封装，每个封装里面包含15种元器件，电压25v至400v"]
[85,"二、三极管包","包含9013、9015、发光二极管、开关二极管、IN4007二极管、5408二极管、稳压二极管，合共10粒","套",700,null,null,"包装成700个独立封装，每个封装里面包含10种元器件"]
[86,"电阻包 ","包含 ( Ω 、KΩ、MΩ).\n合共15粒","套",200,null,null,"包装成200个独立封装，每个封装里面包含15种元器件"]
[87,"发光二极管","五厘(长亮、长脚)","盒",1]
[88,"整流二极管","IN4007","盒",1]
[89,"冲击钻","博世（BOSCH) 12V锂电冲击钻","支",2]
[90,"电解电容","0-2200uF /50V四种规格","只",800,null,null,"各200"]
[91,"CBB61电容","2uF,2.5uf,3uf /450V","只",30,null,null,"各10"]
["合计"]